## Slide 1: Guides and gravity in McStas
Peter Willendrup
Adapted from slides by Mads Bertelsen, ESS

## Slide 2: Overview
Description of phase-space and propagation
Reflectivity
McStas coordinate system
Gravitation in McStas
Guide components with support for gravity
    Guide_gravity
    Elliptic_guide_gravity
Breaking line of sight
Example
Exercise

## Slide 3: Beam propagation in free space
z
x
𝜂x
v
Divergence
“Phase-space” at source

## Slide 4: Beam propagation in free space
z
x
𝜂x
v
Divergence
Wanted “phase-space” at sample

## Slide 5: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 6: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 7: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 8: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 9: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 10: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 11: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 12: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 13: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 14: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 15: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 16: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 17: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 18: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 19: Beam propagation in free space
z
x
𝜂x
v
Divergence
- We lost some phase-space to propagation

## Slide 20: Beam propagation in guide
z
x
𝜂x
v
Divergence
Wanted “phase-space” at sample

## Slide 21: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 22: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 23: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 24: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 25: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 26: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 27: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 28: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 29: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 30: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 31: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 32: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 33: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 34: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 35: Beam propagation in guide
z
x
𝜂x
v
Divergence
We got some phase-space back from guide reflection!

## Slide 36: Reflectivity curves
Reflectivity, super mirror, reflectivity curve
𝛳
ki
kf
q
2𝛳

## Slide 37: Reflectivity curves in McStas
= 0 W = 0
Only m matters
Better mirrors available today
Slope:
Cutoff:
McStas standard model
McStas fitted model

## Slide 38: Guide placement in McStas
The center is the front of the guide element
Tip: Insert a guide at the end of the guide
COMPONENT Source AT (0,0,0) ABSOLUTE
COMPONENT Guide(length=A) AT (0,0,2) RELATIVE Source
COMPONENT Arm AT (0,0,A) RELATIVE Guide

## Slide 39: Gravitation in McStas
Enabled by adding -g / --gravitation on command line or by selecting “Gravity On” in mcgui
Default ~ gravity on earth #define GRAVITY 9.81 /* [m/s^2] gravitational acceleration */ ( If on the moon, use -DGRAVITY=1.62 ;-) )
For guides, only Guide_gravity and Elliptic_guide_gravity support parabolic propagation. (Many others propagate linearly in v direction.)
As you will see in the practical, implications are greatest with long wavelengths and at long distances
“How about e.g. elliptic mirror optic X that does not support gravity?”
  often a good workaround is to add a monitor close to the surface of object X, this takes care that propagation up to the monitor includes gravitation:
  Gravity is enabled in any call to PROP_DT, PROP_Z0 etc., but not in intersect_* routines (most monitors use PROP_Z0 directly, no intersect_ call first
  OK to propagate without gravitation e.g. within sample, through velocity selector etc. / range of ~cm’s

## Slide 40: Popular guide components: Guide_gravity
Typical guide component with gravity, parameter-interface similar to e.g. Guide.comp
Many additional features, channels, fermi chopper, … (see mcdoc pages for more info)
h2
w1
h1
w2
l

## Slide 41: Popular guide components: Guide_gravity
h2
w1
h1
w2
l
Typical guide component with gravity, parameter-interface similar to e.g. Guide.comp
Many additional features, channels, fermi chopper, … (see mcdoc pages for more info)

## Slide 42: Popular guide components: Guide_gravity
Typical guide component with gravity
Position
Wavelength
Divergence
Position - Divergence

## Slide 43: Popular guide components: Elliptical_guide_gravity
Useful for elliptic and parabolic guide geometries, focusing, ballistic, coating distribution, …
linxw linyh
l
loutxw loutyh
xwidth and yheight at DimensionsAt = ”entrace” , ”mid” or ”exit”

## Slide 44: Popular guide components: Elliptical_guide_gravity
Useful for elliptic and parabolic guide geometries, focusing, ballistic, coating distribution, …
Position
Wavelength
Divergence
Position - Divergence

## Slide 45: Comparison: Guide_gravity and Elliptic_guide_gravity
Guide_gravity
Elliptic_guide_gravity
Position
Wavelength
Divergence
Position - Divergence
Position
Wavelength
Divergence
Position - Divergence

## Slide 46: Breaking line of sight
Importance of breaking line of sight, ways of doing so, …

## Slide 47: Breaking line of sight
Bender / Guide_curved component or many straight sections
Mind the gaps, avoid overlap

## Slide 48: A guide design
To be continued in Thursday guidebot talk by Mads Bertelsen

## Slide 49: Guide exercise
Insert a guide and use an instrument input parameter to set the length
Use monitors to see the resulting beam
    PSD_monitor (spatial distribution)
    Divergence_monitor (divergence distributoin)
    L_monitor (wavelength distribution)
    Posdiv_monitor (acceptance diagram)
Extra tasks:
    Scan guide length
    Introduce a gap by using two guide components
    Use Guide_gravity and extend to 100 m length
    Investigate the effect of gravity on the transport of long-wavelength neutrons
Solution on github, use if you are stuck